## Slide 2: Double Jacket Chamber
DUT
Pleak
Tout
Tin
Te
Ta
Ti
Pheater
Pheater
Pfan
Pfan
Power Loss calculation
Q = m x cp x ΔT
m = coolant mass flow rate
cp = coolant heat capacity
ΔT = Tout - Tin
Coefficient of Performance
or
Pout
Pin
Ti > Ta
Pleak
Ti = Te

## Slide 3: Thermodynamics Laws

## Slide 4: Inner Chamber modeling
DUT
Tout
Tin
Te
Ti
Pheater
Pfan
Pout
Pin
1st Law of Thermodynamics:
ΣEin = ΣP = Pfan + Pheater + PDUT
ΣEout = ΣQ = ΣQgap + Qw
ΣQgap = ΣQcond + ΣQconv + ΣQrad
Substitute:

## Slide 5: Outer Chamber Modeling
Te
Ta
Ti
Pheater
Pfan
1st Law of Thermodynamics:
ΣEin = ΣP = Pfan + Pheater + Qgap,inner
ΣEout = ΣQ = ΣQgap,outer
Substitute:

## Slide 6: Thermal Capacitance
Where:
ρ: the density of the material
c: material’s specific heat capacity
V: the volume of the material
Interaction with energy rate (in our chambers):
Plug to plants:

## Slide 7: Equations & S-domain
Generic equation (for both chambers):
Assume: θ = ΔT
Substitute:
Generic form of 1st order systems:
Substitute: ,
System properties:
5τ ~ 99%ss

## Slide 8: Lump assumption and Copper cooling block (1/2)
Biot Number:
h = Convective heat transfer coefficient
k = Thermal conductivity of the solid
Bi < 0.1: Internal resistance is negligible. The temperature inside the body remains nearly uniform, allowing for the use of simple lumped capacitance analysis.
Bi ≤ 0.1: Internal resistance dominates. Significant temperature gradients occur, requiring full, complex transient conduction equations to calculate.

## Slide 9: Lump assumption and Copper cooling block (1/2)
~200TDP

## Slide 10: 2 Node draft block diagram

## Slide 11: Next Steps – Wall Thermal modeling
Thermal Modeling: Inner Walls
Ti
Te
Twall