## Φύλλο1
A — ordinary DJC: air-gap jacket (two nested shells, ETH-style)
Subsystem | What's in it | Est. (EUR)
Heat exchangers | Pickup: airplex modularity 280 (new, €130) · reject: used-to-new 240/280 | 165–260
Water loop | Stepper peristaltic pump + spare tubes, tubing, fittings, reservoir, coolant, check flow sensor | 105–190
Loss measurement | 2× Pt100 Class A 4-wire + 2× MAX31865, co-calibrated pair | 110–120
Power metering | 3× INA226 (in-chamber fans, heater, pump) | 12–27
Shells | Two nested XPS shells + Armaflex seams + alu-foil liner + sealant | 70–140
Guard heating | Silicone heater mats in the gap, ~100 W per side (2× 4-pack) | 50–55
Guard sensing | 12× TMP275 + carrier boards (both shells instrumented) | 20–30
Fans | 2 chamber + 1 gap + 2 radiator | 45–115
Feedthroughs & safety | Crossing two insulated walls: posts, glands, plates ×2, thermal cutoff | 40–70
Preheat + calibration | 100 W wirewound resistors + heatsink | 20–35
Control & power | ESP32, MOSFET stages (two loops), LRS-350-12, wiring | 75–110
Total |  | ≈ €710–1,150
B — DJC with copper jacket: surface-heated single shell (Bristol-style)
Subsystem | What's in it | Est. (EUR)
Heat exchangers | identical to A | 165–260
Water loop | identical to A | 105–190
Loss measurement | identical to A | 110–120
Power metering | identical to A | 12–27
Shell | One shell: EPP box (JBP-class) or single XPS build + alu-foil liner | 40–80
Guard heating | Copper foil tape + 130 °C polyester film — the "copper jacket" | 10–20
Guard sensing | 9× TMP275 + carrier boards (inner/outer wall faces + ambient) | 15–25
Fans | 2 chamber + 2 radiator (no gap fan) | 40–100
Feedthroughs & safety | One wall: tank-outlet bulkheads + perspex plate, thermal cutoff | 30–55
Preheat + calibration | identical to A | 20–35
Control & power | identical to A (still two loops: water + surface heater) | 75–110
Total |  | ≈ €620–1,020